Technical Tip

# Storage of Epoxy Resins

To gain the maximum shelf life of Epoxy Resins note the following: Store most epoxy resins in well-capped containers, in the range of 18 - 40°C Store out of contact with moisture to avoid hydrolysis to a free acid, which contributes to the spoiling of embedding materials